TECHNICAL DATASHEET

Product Details

Make			: SUDEEP

Model			: SEFLDW50

Series			: LED Flood Light

BIS CRS No.		: R-71029483

Electrical Data

Input Voltage Range	: 90 - 300 VAC

Power			: 50 Watt

Power Factor 		:  >0.95

Frequency 		: 50/60 Hz

Protections 		: THD < 10%

Driver			: Constant Current Active

Power Factor Corrected

Lumens O/P		: >5500 Lm

Light Data

LED Efficacy		: >110 lm/Watt

Beam Angle		: >80 ⁰

Environmental

Working temperature	: -10 to +50 Deg. Cel.

Working humidity	: 10 to 95%

IP rating		: IP66

Protection		: IK07

Surge Protection	: 5KV (Internal),

CCT			: 5800 K +/- 100

CRI			: >70

LED Make		: Osram

LED Type		: SMD 2835

LED Life Time	: 50,000 hours

Size

L x H x W		: 230 x 215 x 65 mm

Warranty		: 2 Years

Body Colours		: Grey

Applications

Manufacturing Plants, Shop Floor, Industrial Areas, Godown, Shops, Warehouses, Storage Units