TECHNICAL DATASHEET

Product Details

Code			: SELMNHBW80

Series			: LED High Bay Light

Model			: Regular

Electrical Data

Input Voltage Range	: 140 - 270 VAC

Power			: 80 Watt

Power Factor 		:  >0.95

Frequency 		: 50/60 Hz

Protections 		: THD < 10%

Driver			: Constant Current Active

Power Factor Corrected

Lumens O/P		: 10400 Lm

Light Data

LED Efficacy		:  130 lm/Watt

Beam Angle		: 120 ⁰

CCT			:  5700 K +/- 500

CRI			: >80

LED Make		: Osram

LED Type		: SMD LED

LED Life Time	: 50,000 hours

Environmental

Working temperature	: -20 to +50 Deg. Cel.

Working humidity	: 10 to 90%

IP rating		: IP66

Size

Dia x H		: 185 x 50 mm

Applications

Manufacturing Plants, Shop Floor, Industrial Areas, Godown, Shops, Warehouses, Storage Units